UC-10/20-1 and UC-10/40-1

PUMPS WITH PUMPING EQUIPMENT

FOR EXCHANGER CHEMICAL CLEANING

TECHNICAL INFORMATION

|  | UC-10/20-1 | UC-10/40-1 |  | UC-20/40-1 |
| --- | --- | --- | --- | --- |
| Installed power N | 4.5 kW | 5.2 kW |  | 13.5 kW |
| Tank volume V | 150 dm3 |  |  |  |
| Material - polypropylene | B-200 |  |  |  |
| Size: | 660x700x1100mm |  |  |  |
| Total weight | 35 kg |  |  | 60 kg |
| Voltage U | ~230V |  | ~230V | ~500V |

HEATERS

Heater efficiency 	P = 2x1.5kW or 3x2kW

The UC-10/20-1, UC-10/40-1 and UC-20/40-1 PUMPS WITH PUMPING EQUIPMENT are designed for chemical cleaning of heating installation and equipment by removing boiler scale and corrosion products.

Inbuilt heaters allow work in higher temperature up to 50oC.

The inbuilt distributor allows changing the direction of bath pumping without switching off the pump.

The control box of UC-10/20-1, UC-10/40-1 and UC-20/40-1 pump sets ensures safe equipment operation. The applied plastics, i.e. PP and PVDF, make it fully chemically resistant to such media as mineral acids, nitric acid, phosphoric acid and hydrochloric acid as well as organic acids, such as formic, acetic, citric acid and soda lye. The UC-10/20-1, UC-10/40-1 and UC-20/40-1 equipment can also be used as a mixer, intermediate pumping station or a reactor.